## COST SUMMARY
COST SUMMARY
| NAME OF KEBELE | Total cost
1 | AMBULE | 0
2 | AREA KAYSA | 0
3 | BESHEDA | 0
4 | SEMBELE | 0
SUM TOTAL COST |  | 0

## AREA AMBULE
A | BILL OF QUANTITY FOR THE CONSTRUCTION WORK OF KITCHEN IN AMBULE HP
| Item | DESCRIPTION | UNIT | Qty | Rate | Total | Sub Total
A. SUB STRUCTURE
| 1 | Excavation and earth work
| 1.1 | Clear off top vegetable soil, bushes and small trees to an average depth of 10cm. | m2 |  |  | 0
| 1.2 | Bulk excavation in ordinary soil to a depth not exceeding 20cm | m3 |  |  | 0
| 1.3 | Trench excavation for fence in ordinary soil to a depth not exceeding 20cm from | m3 |  |  | 0
| 1.4 | Pit excavation for vertical main post wooden poles @ c/c 60cm to adepth of 70cm and Dia.30cm starting befor trench excavate surface for continous foundation. | m3 |  |  | 0
| 1.5 | Back fill with good dry filling, selected and borrowed material and wet compact in layers not exceeding 20cm Around sides of masonry foundation | m3 |  |  | 0
| 1.6 | Burial pit excavation area 100cm*100cm depth 150cm fence it in five row use barbed wire height 150 cm price shall include pit excavation for vertical main post wooden poles and nail . | m3 |  |  | 0
|  | Total carried to summary |  |  |  | 0
| 2 | Masonery work
| 2.1 | 30cm thick hard trachyte or equivalent stone masonry foundation below normal ground level (30cm in the outer perimeter of the wall and 20cm depth) bedded in cement sand mortar (1:3) price shall include mortar bedding and pointing | m3 |  |  | 0
| 2.2 | Ditto as above but above normal ground level at an average height of (20cm). | m3 |  |  | 0
|  | Total carried to summary |  |  |  | 0
| 3 | Concrete work
| 3.1 | 5cm thick lean concrete quality C-5, minimum cement content 150kg/m3 |  |  |  | 0
| 3.2 | A) Under masonry foundations | m2 |  |  | 0
|  | Total carried to summary |  |  |  | 0
|  | DESCRIPTION | UNIT |  |  | Total | Sub Total
B. SUPER STRUCTURE
| 1 | WALL WORK
| 1.1 | Ø10-12cm local wood (splited acacia) vertical main post anchored to mass concrete as indicated on the drawing, the local wood posts shall be straight and free of any harmful defects. With an average height of 450cm and center to center at 60cm. | pcs |  |  | 0
| 1.2 | Construct wall out of Ø 6cm eucalyptus horizontal and diagonal bracings nailed to posts every 60cm and G-32 Corrugated Iron Sheet wall Cover and above G-32 Corrugated Iron Sheet wall Cover there is (60cm-120cm) height free for ventilation. | m2 |  |  | 0
|  | Total carried to summary |  |  |  | 0
| 2 | ROOFING
| 2..1 | Supply and fix G-32 CIS roof cover, fixed to 5cm*7cm eucalyptus purlins c/c 90cm with dome headed galvanized nails. All roof members anchored to each other with band iron. Purlins measured separately and horizontal projection of roof area taken for measuremnet. | m2 |  |  | 0
|  | Total carried to summary |  |  |  | 0
| 3 | CARPENTRY & JOINERY
All wooden members shall be well seasoned, straight and free from any harm full defect.
| 3.1 | A) Ø10-12cm local wood (splited acacia) vertical main post | ml |  |  | 0
| 3.2 | B) Ø 8-10cm eucalyptus Vertical & diagonal truss members | ml |  |  | 0
| 3.3 | C) 5x7cm eucalyptus wood purlin. | ml |  |  | 0
|  | Total carried to summary |  |  |  | 0
| 4 | Metal work
Corrugated iron doors manufactured from eucalyptus Wooden members and G-32 Corrugated Iron Sheet Material. Unit price includes approved quality locks, hinges and all other neccessary accessories to accomplish the works.
| 4.1 | Door
| 4.2 | Type D1, size (90x200)cm | pcs |  |  | 0
|  | Total carried to summary |  |  |  | 0
| 5 | Fire Place Stand Work |  |  |  | 0
| 5.1 | Construct Fire Place Stand out of 10Psc of 20cm thick Hollow Concrete Block, Mix two loads of hay with 1.8m3of soil preparing it with mud according to the Drawing and with the Specification below. | pcs |  |  | 0
|  | Total carried to summary |  |  |  | 0
| 6 | FINISHING WORK
| 6.1 | Apply protective fence with cyclon wire(Ø 2mm) and a lockable gate around the water tank area (5m*5m) height (2m) price shall include 12 local wood (splited acacia) vertical main post,12 pit excavation (Ø30cm and depth 70cm),nail | m |  |  | 0
|  | Total carried to summary |  |  |  | 0
|  | GRAND TOTAL |  |  |  | 0
|  | VAT 15% |  |  |  | 0
|  | TOTAL WITH VAT |  |  |  | 0
PRICE SUMMERY OF LOCAL KITCHE IN AMBULE HP
A. Sub Structure
Amount (Ethiopian birr)
|  | Excavation & Earth Work | 0
|  | Masonry Work | 0
|  | Concrete Work | 0
|  | SUB TOTAL. A | 0
B. Super Structure
|  | Wall work | 0
|  | Roofing | 0
|  | Carpentry & Joinery | 0
|  | Metal Work | 0
|  | Fire Place Stand Work | 0
|  | Finishing | 0
|  | SUB TOTAL. B | 0
|  | TOTAL A+B | 0
|  | 15% VAT | 0
|  | GRAND TOTAL WITH VAT | 0
B | BILL OF QUANTITY FOR THE CONSTRUCTION WORK OF TOILET IN AMBULE HP
| Item | DESCRIPTION | UNIT | Qty | Rate | Total | Sub Total
A. SUB STRUCTURE
| 1 | Excavation and earth work
| 1.1 | Clear off top vegetable soil, bushes and small trees to an average depth of 10cm from NGL | m2 |  |  | 0
| 1.2 | Bulk excavation in ordinary soil to a depth not exceeding 20cm from NGL | m3 |  |  | 0
| 1.3 | Trench excavation for fence in ordinary soil to a depth not exceeding 30cm from | m3 |  |  | 0
| 1.4 | Manual excavation for toilet hole area on the top 300cm*300cm,area of the botom 270cm*270cm and depth 300cm | m3 |  |  | 0
| 1.5 | Back fill with good dry filling, selected and borrowed material and wet compact in layers not exceeding 20cm Around one sides of masonry foundation | m3 |  |  | 0
| 1.6 | Cart away surplus excavated material to a distance not exceeding 10m | m3 |  |  | 0
| 1.7 | 20cm thick sound basaltic or equivalent stone hard-core finished and blinded with crushed stone to 60cm the outer perimeter of the toilet wall | m2 |  |  | 0
|  | Total carried to summary |  |  |  | 0
| 2 | Masonery work
| 2.1 | 25cm thick hard trachyte or equivalent stone masonry foundation below normal ground level (25cm the perimeter of the toilet wall and 30cm depth and 25cm in the inner perimeter of the toilet hole with 300cm depth) bedded in cement sand mortar (1:3) price shall include mortar bedding and pointing | m3 |  |  | 0
| 2.2 | Ditto as above but above normal ground level 25cm in the outer perimeter of the toilet hole at an average height of (20cm). | m3 |  |  | 0
|  | Total carried to summary |  |  |  | 0
| 3 | Concrete work
| 3.1 | 5cm thick lean concrete quality C-5, minimum cement content 150kg/m3 |  |  |  | 0
|  | A) Under masonry foundations | m2 |  |  | 0
|  | Total carried to summary |  |  |  | 0
B. SUPER STRUCTURE
| 1 | Concrete work
| 1.1 | Reinforced concrete in class c-25 ( with a 28-day 150mm cube crushing strength of 25 Mpa ) cast into formworks and vibrated around rod reinforcement bars. (formwork and reinforcement bars are measured separately.) in: ''Type of cement to be ordinary portland cement (OPC)''
|  | a) 150mm thick floor slab | m3 |  |  | 0
|  | b) grade beam | m3 |  |  | 0
|  | c) elevation column | m3 |  |  | 0
|  | d) lintel beam | m3 |  |  | 0
| 1.2 | Sawn zigba wood form work for (b,c,d) and use plywood thickness 3.2mm
|  | a) 3.2mm thck floor slab | m2 |  |  | 0
|  | b) grade beam | m2 |  |  | 0
|  | c) elevation column | m2 |  |  | 0
|  | d) lintel beam | m2 |  |  | 0
| 1.3 | Reinforcement steei bars according to structural drawing. Price includes cutting, bending, placing in position and tying black wires.
|  | a) dia. 8mm 72m length c/c 15cm deformed bar | kg |  |  | 0
|  | b) dia. 10mm 51.2m length c/c 10cm deformed bar | kg |  |  | 0
|  | c) dia. 12mm 54m length c/c 20cm deformed bar | kg |  |  | 0
|  | d) dia. 6mm 46m length c/c 20cm deformed bar | kg |  |  | 0
| 1.4 | HCB wall beded with 1:4 cement sand mortar
|  | a) 20cm thick external HBC wall | m2 |  |  | 0
|  | b) 15cm thick internal HBC wall | m2 |  |  | 0
|  | Total carried to summary |  |  |  | 0
| 2 | ROOFING
| 2.1 | Supply and fix G-32 CIS roof cover, fixed to 5cm*7cm eucalyptus purlins c/c 90cm with dome headed galvanized nails. All roof members anchored to each other with band iron. Purlins measured separately and horizontal projection of roof area taken for measuremnet. | m2 |  |  | 0
| 2.2 | Supply and fix zigba wood trim (thickness 3cm and width 20cm) that are used to finish the edges of a roof and provide a clean, finished appearance while protecting the underlying structure. price shall include painting | m |  |  | 0
|  | Total carried to summary |  |  |  | 0
| 3 | CARPENTRY & JOINERY
All wooden members shall be well seasoned, straight and free from any harm full defect.
| 3.1 | B) Ø 8-10cm eucalyptus Vertical & diagonal truss members | m |  |  | 0
| 3.2 | C) 5x7cm eucalyptus wood purlin. | m |  |  | 0
|  | Total carried to summary |  |  |  | 0
| 4 | Metal work
All doors are manufactured from LTZ 15mm profile frames. All works should be cut and assembeled to sizes and shapes of the door schedule upon submitting workshop drawing by the contractor. Unit price includes approved quality locks, hinges and one coat of primer or antirust and two coats of synthetic paint. all other neccessary accessories to accomplish the works.
| 4.1 | construction of hand washing station near the toilet profile frame manufactured from SHS 1.5mm . All works should be cut and assembeled to sizes and shapes of the hand wash schedule upon submitting workshop drawing by the contractor size = (80cm*50cm) height 120cm price include apply two coats antitrust and neccessary accessories to accomplish the works. | pcs |  |  | 0
Door
|  | Type D1, size (80x240)cm | pcs |  |  | 0
|  | Total carried to summary |  |  |  | 0
| 5 | PLASTERING WORK
| 5.1 | Apply two coats of plaster in cement mortar (1:3) up to fine finish to all internal and external wall surfaces. Plastering work shall inciude all surface pre-cleaning preparation, chiseling, polishing, job plastering, plastering to edges and cleaningat the end of finishing work. | m2 |  |  | 0
| 5.2 | Rendering for external wall. Plastering work shall inciude all surface pre-cleaning preparation, chiseling, polishing and cleaningat the end of finishing work. | m2 |  |  | 0
|  | Total carried to summary |  |  |  | 0
| 6 | PAINTING WORK
| 6.1 | Apply in two coats of plastic emulsion paint to all internal and external plastered wall surfaces. The work shall include all surface pre-cleaning preparation, chiseling, polishing and cleaning at the end of painting work. Color shall be decided by the consultant in discussion with the client. | M2 |  |  | 0
|  | Total carried to summary |  |  |  | 0
|  | GRAND TOTAL |  |  |  | 0
|  | VAT 15% |  |  |  | 0
|  | TOTAL WITH VAT |  |  |  | 0
PRICE SUMMARY OF TOILET IN AMBULE HP
A. Sub Structure
Amount (Ethiopian birr)
|  | Excavation & Earth Work | 0
|  | Masonry Work | 0
|  | Concrete Work | 0
|  | SUB TOTAL. A | 0
B. Super Structure
|  | Concrete work | 0
|  | Roofing | 0
|  | Carpentry & Joinery | 0
|  | Metal Work | 0
|  | PLASTERING WORK | 0
|  | PAINTING WORK | 0
|  | SUB TOTAL. B | 0
|  | GRAND TOTAL | 0
|  | VAT 15% | 0
|  | TOTAL WITH VAT | 0
| 1. | AMBULE TOTAL COST OF KITCHEN+TOILET | 0

## AREA KAYSA
BILL OF QUANTITY FOR THE CONSTRUCTION WORK OF KITCHEN IN AREA KAYSA HP
Item | DESCRIPTION | UNIT | Qty | Rate | Total | Sub Total
A. SUB STRUCTURE
1 | Excavation and earth work
1.1 | Clear off top vegetable soil, bushes and small trees to an average depth of 10cm. | m2 |  |  | 0
1.2 | Bulk excavation in ordinary soil to a depth not exceeding 20cm | m3 |  |  | 0
1.3 | Trench excavation for fence in ordinary soil to a depth not exceeding 20cm from | m3 |  |  | 0
1.4 | Pit excavation for vertical main post wooden poles @ c/c 60cm to adepth of 70cm and Dia.30cm starting befor trench excavate surface for continous foundation. | m3 |  |  | 0
1.5 | Back fill with good dry filling, selected and borrowed material and wet compact in layers not exceeding 20cm Around sides of masonry foundation | m3 |  |  | 0
1.6 | Burial pit excavation area 100cm*100cm depth 150cm fence it in five row use barbed wire height 150 cm price shall include pit excavation for vertical main post wooden poles and nail . | m3 |  |  | 0
| Total carried to summary |  |  |  | 0
2 | Masonery work
2.1 | 30cm thick hard trachyte or equivalent stone masonry foundation below normal ground level (30cm in the outer perimeter of the wall and 20cm depth) bedded in cement sand mortar (1:3) price shall include mortar bedding and pointing | m3 |  |  | 0
2.2 | Ditto as above but above normal ground level at an average height of (20cm). | m3 |  |  | 0
| Total carried to summary |  |  |  | 0
3 | Concrete work
3.1 | 5cm thick lean concrete quality C-5, minimum cement content 150kg/m3 |  |  |  | 0
3.2 | A) Under masonry foundations | m2 |  |  | 0
| Total carried to summary |  |  |  | 0
B. SUPER STRUCTURE
1 | WALL WORK
1.1 | Ø10-12cm local wood (splited acacia) vertical main post anchored to mass concrete as indicated on the drawing, the local wood posts shall be straight and free of any harmful defects. With an average height of 450cm and center to center at 60cm. | pcs |  |  | 0
1.2 | Construct wall out of Ø 6cm eucalyptus horizontal and diagonal bracings nailed to posts every 60cm and G-32 Corrugated Iron Sheet wall Cover and above G-32 Corrugated Iron Sheet wall Cover there is (60cm-120cm) height free for ventilation. | m2 |  |  | 0
| Total carried to summary |  |  |  | 0
2 | ROOFING
2.1 | Supply and fix G-32 CIS roof cover, fixed to 5cm*7cm eucalyptus purlins c/c 90cm with dome headed galvanized nails. All roof members anchored to each other with band iron. Purlins measured separately and horizontal projection of roof area taken for measuremnet. | m2 |  |  | 0
| Total carried to summary |  |  |  | 0
3 | CARPENTRY & JOINERY
All wooden members shall be well seasoned, straight and free from any harm full defect.
3.1 | A) Ø10-12cm local wood (splited acacia) vertical main post | ml |  |  | 0
3.2 | B) Ø 8-10cm eucalyptus Vertical & diagonal truss members | ml |  |  | 0
3.3 | C) 5x7cm eucalyptus wood purlin. | ml |  |  | 0
| Total carried to summary |  |  |  | 0
4 | Metal work
Corrugated iron doors manufactured from eucalyptus Wooden members and G-32 Corrugated Iron Sheet Material. Unit price includes approved quality locks, hinges and all other neccessary accessories to accomplish the works.
4.1 | Construction of hand washing station near the toilet profile frame manufactured from SHS 1.5mm . All works should be cut and assembeled to sizes and shapes of the hand wash schedule upon submitting workshop drawing by the contractor size = (80cm*50cm) height 120cm price include apply two coats antitrust and neccessary accessories to accomplish the works. | pcs |  |  | 0
Door
| Type D1, size (90x200)cm | pcs |  |  | 0
| Total carried to summary |  |  |  | 0
5 | Fire Place Stand Work |  |  |  | 0
5.1 | Construct Fire Place Stand out of 10Psc of 20cm thick Hollow Concrete Block, Mix two loads of hay with 1.8m3of soil preparing it with mud according to the Drawing and with the Specification below. | pcs |  |  | 0
| Total carried to summary |  |  |  | 0
6 | FINISHING WORK
6.1 | Apply in two coats of plastic emulsion paint to all internal and external plastered wall surfaces of the three living room inside the health post | m2 |  |  | 0
6.1 | Apply metallic painting the external and internal door and window of the three living room inside the health post. price shall include one door need welding. | m2 |  |  | 0
6.3 | Supply and fix chip wood ceiling with painting the external and internal part of the the three living room size of chip wood ceiling (60cm*120cm) price shall not include Vertical & horizontal truss members | m2 |  |  | 0
6.4 | Installing water pipe from the public water station to health post water tank the material that used 1''1/4 HDP, 2'' T-coupling,reducer from 1''1/4 to 3/4'' and 2''to1''1/4 and 1''1/4 gate valve.price shall include excavation,(30cm*30cm), back fill and piumber | m |  |  | 0
6.5 | Apply protective fence with cyclon wire(Ø 2mm) and a lockable gate around the water tank area (5m*5m) height (2m) price shall include 12 local wood (splited acacia) vertical main post,12 pit excavation (Ø30cm and depth 70cm),nail | m |  |  | 0
| Total carried to summary |  |  |  | 0
| GRAND TOTAL |  |  |  | 0
| VAT 15% |  |  |  | 0
| TOTAL WITH VAT |  |  |  | 0
PRICE SUMMARY OF LOCAL KITCHE IN AREA KAYSA HP
A. Sub Structure
Amount (Ethiopian birr)
| Excavation & Earth Work | 0
| Masonry Work | 0
| Concrete Work | 0
| SUB TOTAL. A | 0
B. Super Structure
| Wall work | 0
| Roofing | 0
| Carpentry & Joinery | 0
| Metal Work | 0
| Fire Place Stand Work | 0
| Finishing | 0
| SUB TOTAL. B | 0
| TOTAL A+B | 0
| 15% VAT | 0
| GRAND TOTAL WITH VAT | 0
2. | AREA KAYSA TOTAL COST | 0

## BESHEDA
BILL OF QUANTITY FOR THE CONSTRUCTION WORK OF KITCHEN IN BESHEDA HP
Item | DESCRIPTION | UNIT | Qty | Rate | Total | Sub Total
A. SUB STRUCTURE
1 | Excavation and earth work
1.1 | Clear off top vegetable soil, bushes and small trees to an average depth of 10cm. | m2 |  |  | 0
1.2 | Bulk excavation in ordinary soil to a depth not exceeding 20cm | m3 |  |  | 0
1.3 | Trench excavation for fence in ordinary soil to a depth not exceeding 20cm from | m3 |  |  | 0
1.4 | Pit excavation for vertical main post wooden poles @ c/c 60cm to adepth of 70cm and Dia.30cm starting befor trench excavate surface for continous foundation. | m3 |  |  | 0
1.5 | Back fill with good dry filling, selected and borrowed material and wet compact in layers not exceeding 20cm Around sides of masonry foundation | m3 |  |  | 0
1.6 | Burial pit excavation area 100cm*100cm depth 150cm fence it in five row use barbed wire height 150 cm price shall include pit excavation for vertical main post wooden poles and nail . | m3 |  |  | 0
| Total carried to summary |  |  |  | 0
2 | Masonery work
2..1 | 30cm thick hard trachyte or equivalent stone masonry foundation below normal ground level (30cm in the outer perimeter of the wall and 20cm depth) bedded in cement sand mortar (1:3) price shall include mortar bedding and pointing | m3 |  |  | 0
2..2 | Ditto as above but above normal ground level at an average height of (20cm). | m3 |  |  | 0
| Total carried to summary |  |  |  | 0
3 | Concrete work
3.1 | 5cm thick lean concrete quality C-5, minimum cement content 150kg/m3 |  |  |  | 0
3.2 | A) Under masonry foundations | m2 |  |  | 0
| Total carried to summary |  |  |  | 0
B. SUPER STRUCTURE
1 | WALL WORK
1.1 | Ø10-12cm local wood (splited acacia) vertical main post anchored to mass concrete as indicated on the drawing, the local wood posts shall be straight and free of any harmful defects. With an average height of 450cm and center to center at 60cm. | pcs |  |  | 0
1.2 | Construct wall out of Ø 6cm eucalyptus horizontal and diagonal bracings nailed to posts every 60cm and G-32 Corrugated Iron Sheet wall Cover and above G-32 Corrugated Iron Sheet wall Cover there is (60cm-120cm) height free for ventilation. | m2 |  |  | 0
| Total carried to summary |  |  |  | 0
2 | ROOFING
2.1 | Supply and fix G-32 CIS roof cover, fixed to 5cm*7cm eucalyptus purlins c/c 90cm with dome headed galvanized nails. All roof members anchored to each other with band iron. Purlins measured separately and horizontal projection of roof area taken for measuremnet. | m2 |  |  | 0
| Total carried to summary |  |  |  | 0
3 | CARPENTRY & JOINERY
All wooden members shall be well seasoned, straight and free from any harm full defect.
3.1 | A) Ø10-12cm local wood (splited acacia) vertical main post | ml |  |  | 0
3.2 | B) Ø 8-10cm eucalyptus Vertical & diagonal truss members | ml |  |  | 0
3.3 | C) 5x7cm eucalyptus wood purlin. | ml |  |  | 0
| Total carried to summary |  |  |  | 0
4 | Metal work
4.1 | Corrugated iron doors manufactured from eucalyptus Wooden members and G-32 Corrugated Iron Sheet Material. Unit price includes approved quality locks, hinges and all other neccessary accessories to accomplish the works.
4.2 | Construction of hand washing station near the toilet profile frame manufactured from SHS 1.5mm . All works should be cut and assembeled to sizes and shapes of the hand wash schedule upon submitting workshop drawing by the contractor size = (80cm*50cm) height 120cm price include apply two coats antitrust and neccessary accessories to accomplish the works. | pcs |  |  | 0
Door
| Type D1, size (90x200)cm | pcs |  |  | 0
| Total carried to summary |  |  |  | 0
5 | Fire Place Stand Work |  |  |  | 0
5.1 | Construct Fire Place Stand out of 10Psc of 20cm thick Hollow Concrete Block, Mix two loads of hay with 1.8m3of soil preparing it with mud according to the Drawing and with the Specification below. | pcs |  |  | 0
| Total carried to summary |  |  |  | 0
6 | FINISHING WORK
6.1 | Apply in two coats of plastic emulsion paint to all internal and external plastered wall surfaces of the three living room inside the health post.colors shall be decided by the consultant in discussion with the client. | m2 |  |  | 0
6.2 | Apply metallic painting the external and internal door and window of the three living room inside the health post. price shall include one door need welding. | m3 |  |  | 0
6.3 | Supply and fix chip wood ceiling with painting the external and internal part and use parnel ceiling for external part of the the three living room size of chip wood ceiling (60cm*120cm) size of parnel ceiling (26.6cm*40cm) price shall not include Vertical & horizontal truss members | m4 |  |  | 0
6.4 | Construct shower station on the right or left side of the kichen wall use three G-32 Corrugated Iron Sheet wall Cover area 100cm*100cm. price shall include one door | n. |  |  | 0
6.5 | Apply protective fence with cyclon wire(Ø 2mm) and a lockable gate around the water tank area (5m*5m) height (2m) price shall include 12 local wood (splited acacia) vertical main post,12 pit excavation (Ø30cm and depth 70cm),nail | m |  |  | 0
| Total carried to summary |  |  |  | 0
| GRAND TOTAL |  |  |  | 0
| VAT 15% |  |  |  | 0
| TOTAL WITH VAT |  |  |  | 0
PRICE SUMMARY OF LOCAL KITCHE IN BESHEDA HP
A. Sub Structure
Amount (Ethiopian birr)
| Excavation & Earth Work | 0
| Masonry Work | 0
| Concrete Work | 0
| SUB TOTAL. A | 0
B. Super Structure
| Wall work | 0
| Roofing | 0
| Carpentry & Joinery | 0
| Metal Work | 0
| Fire Place Stand Work | 0
| Finishing | 0
| SUB TOTAL. B | 0
| TOTAL A+B | 0
| 15% VAT | 0
| GRAND TOTAL WITH VAT | 0
3. | BESHEDA TOTAL COST | 0

## SEMBELE
A | BILL OF QUANTITY FOR THE CONSTRUCTION WORK OF KITCHEN IN SEMBELE HP
| Item | DESCRIPTION | UNIT | Qty | Rate | Total | Sub Total
A. SUB STRUCTURE
| 1 | Excavation and earth work
| 1.1 | Clear off top vegetable soil, bushes and small trees to an average depth of 10cm. | m2 |  |  | 0
| 1.2 | Bulk excavation in ordinary soil to a depth not exceeding 20cm | m3 |  |  | 0
| 1.3 | Trench excavation for fence in ordinary soil to a depth not exceeding 20cm from | m3 |  |  | 0
| 1.4 | Pit excavation for vertical main post wooden poles @ c/c 60cm to adepth of 70cm and Dia.30cm starting befor trench excavate surface for continous foundation. | m3 |  |  | 0
| 1.5 | Back fill with good dry filling, selected and borrowed material and wet compact in layers not exceeding 20cm Around sides of masonry foundation | m3 |  |  | 0
| 1.6 | Burial pit excavation area 100cm*100cm depth 150cm fence it in five row use barbed wire height 150 cm price shall include pit excavation for vertical main post wooden poles and nail . | m3 |  |  | 0
|  | Total carried to summary |  |  |  | 0
| 2 | Masonry work
| 2.1 | 30cm thick hard trachyte or equivalent stone masonry foundation below normal ground level (30cm in the outer perimeter of the wall and 20cm depth) bedded in cement sand mortar (1:3) price shall include mortar bedding and pointing | m3 |  |  | 0
| 2.2 | Ditto as above but above normal ground level at an average height of (20cm). | m3 |  |  | 0
|  | Total carried to summary |  |  |  | 0
| 3 | Concrete work
| 3.1 | 5cm thick lean concrete quality C-5, minimum cement content 150kg/m3 |  |  |  | 0
| 3.2 | A) Under masonry foundations | m2 |  |  | 0
|  | Total carried to summary |  |  |  | 0
B. SUPER STRUCTURE
| 1 | WALL WORK
| 1.1 | Ø10-12cm local wood (splited acacia) vertical main post anchored to mass concrete as indicated on the drawing, the local wood posts shall be straight and free of any harmful defects. With an average height of 450cm and center to center at 60cm. | pcs |  |  | 0
| 1.2 | Construct wall out of Ø 6cm eucalyptus horizontal and diagonal bracings nailed to posts every 60cm and G-32 Corrugated Iron Sheet wall Cover and above G-32 Corrugated Iron Sheet wall Cover there is (60cm-120cm) height free for ventilation. | M2 |  |  | 0
|  | Total carried to summary |  |  |  | 0
| 2 | ROOFING
| 2.1 | Supply and fix G-32 CIS roof cover, fixed to 5cm*7cm eucalyptus purlins c/c 90cm with dome headed galvanized nails. All roof members anchored to each other with band iron. Purlins measured separately and horizontal projection of roof area taken for measuremnet. | M2 |  |  | 0
|  | Total carried to summary |  |  |  | 0
| 3 | CARPENTRY & JOINERY
All wooden members shall be well seasoned, straight and free from any harm full defect.
| 3.1 | A) Ø10-12cm local wood (splited acacia) vertical main post | ml |  |  | 0
| 3.2 | B) Ø 8-10cm eucalyptus Vertical & diagonal truss members | ml |  |  | 0
| 3.3 | C) 5x7cm eucalyptus wood purlin. | ml |  |  | 0
|  | Total carried to summary |  |  |  | 0
| 4 | Metal work
Corrugated iron doors manufactured from eucalyptus Wooden members and G-32 Corrugated Iron Sheet Material. Unit price includes approved quality locks, hinges and all other neccessary accessories to accomplish the works.
Door
| 4.1 | Type D1, size (90x200)cm | pcs |  |  | 0
|  | Total carried to summary |  |  |  | 0
| 5 | Fire Place Stand Work |  |  |  | 0
|  | Construct Fire Place Stand out of 10Psc of 20cm thick Hollow Concrete Block, Mix two loads of hay with 1.8m3of soil preparing it with mud according to the Drawing and with the Specification below. | pcs |  |  | 0
|  | Total carried to summary |  |  |  | 0
| 6 | FINISHING WORK
| 6.1 | Apply in two coats of plastic emulsion paint to all internal and external plastered wall surfaces of the three living room inside the health post.colors shall be decided by the consultant in discussion with the client. | m2 |  |  | 0
| 6.2 | Apply metallic painting the external and internal door and window of the three living room inside the health post. price shall include one door need welding. | m2 |  |  | 0
| 6.3 | Supply and fix chip wood ceiling with painting the external and internal part and use parnel ceiling for external part of the the three living room size of chip wood ceiling (60cm*120cm) size of parnel ceiling (26.6cm*40cm) price shall not include Vertical & horizontal truss members | m2 |  |  | 0
| 6.4 | apply protective fence with cyclon wire(Ø 2mm) and a lockable gate around the water tank area (5m*5m) height (2m) price shall include 12 local wood (splited acacia) vertical main post,12 pit excavation (Ø30cm and depth 70cm),nail | m |  |  | 0
|  | Total carried to summary |  |  |  | 0
|  | GRAND TOTAL |  |  |  | 0
|  | VAT 15% |  |  |  | 0
|  | TOTAL WITH VAT |  |  |  | 0
PRICE SUMMERY OF LOCAL KITCHE IN SEMBELE HP
A. Sub Structure
Amount (Ethiopian birr )
|  | Excavation & Earth Work | 0
|  | Masonry Work | 0
|  | Concrete Work | 0
|  | SUB TOTAL. A | 0
B. Super Structure
|  | Wall work | 0
|  | Roofing | 0
|  | Carpentry & Joinery | 0
|  | Metal Work | 0
|  | Fire Place Stand Work | 0
|  | Finishing | 0
|  | SUB TOTAL. B | 0
|  | TOTAL A+B | 0
|  | 15% VAT | 0
|  | GRAND TOTAL WITH VAT | 0
B | BILL OF QUANTITY FOR THE CONSTRUCTION WORK OF TOILET IN SEMBELE HP
| Item | DESCRIPTION | UNIT | Qty | Rate | Total | Sub Total
A. SUB STRUCTURE
| 1 | Excavation and earth work
| 1.1 | Clear off top vegetable soil, bushes and small trees to an average depth of 10cm from NGL | m2 |  |  | 0
| 1.2 | Bulk excavation in ordinary soil to a depth not exceeding 20cm from NGL | m3 |  |  | 0
| 1.3 | Trench excavation for fence in ordinary soil to a depth not exceeding 30cm from | m3 |  |  | 0
| 1.4 | manual excavation for toilet hole area on the top 300cm*300cm,area of the botom 270cm*270cm and depth 300cm | m3 |  |  | 0
| 1.5 | Back fill with good dry filling, selected and borrowed material and wet compact in layers not exceeding 20cm Around one sides of masonry foundation | m3 |  |  | 0
| 1.6 | Cart away surplus excavated material to a distance not exceeding 10m | m3 |  |  | 0
| 1.7 | 20cm thick sound basaltic or equivalent stone hard-core finished and blinded with crushed stone to 60cm the outer perimeter of the toilet wall | m2 |  |  | 0
|  | Total carried to summary |  |  |  | 0
| 2 | Masonry work
| 2.1 | 25cm thick hard trachyte or equivalent stone masonry foundation below normal ground level (25cm the perimeter of the toilet wall and 30cm depth and 25cm in the inner perimeter of the toilet hole with 300cm depth ) bedded in cement sand mortar (1:3) price shall include mortar bedding and pointing | m3 |  |  | 0
| 2.2 | Ditto as above but above normal ground level 25cm in the outer perimeter of the toilet hole at an average height of (20cm). | m3 |  |  | 0
|  | Total carried to summary |  |  |  | 0
| 3 | Concrete work
| 3.1 | 5cm thick lean concrete quality C-5, minimum cement content 150kg/m3 |  |  |  | 0
|  | A) Under masonry foundations | m2 |  |  | 0
|  | Total carried to summary |  |  |  | 0
B. SUPER STRUCTURE
| 1 | Concrete work
| 1.1 | Reinforced concrete in class c-25 ( with a 28-day 150mm cube crushing strength of 25 Mpa ) cast into formworks and vibrated around rod reinforcement bars. (formwork and reinforcement bars are measured separately.) in: ''Type of cement to be ordinary portland cement (OPC)''
|  | a) 150mm thick floor slab | m3 |  |  | 0
|  | b) grade beam | m3 |  |  | 0
|  | c) elevation column | m3 |  |  | 0
|  | d) lintel beam | m3 |  |  | 0
| 1.2 | Sawn zigba wood form work for (b,c,d) and use plywood thickness 3.2mm
|  | a) 3.2mm thck floor slab | m2 |  |  | 0
|  | b) grade beam | m2 |  |  | 0
|  | c) elevation column | m2 |  |  | 0
|  | d) lintel beam | m2 |  |  | 0
| 1.3 | Reinforcement steei bars according to structural drawing. Price includes cutting, bending, placing in position and tying black wires.
|  | a) dia. 8mm 72m length c/c 15cm deformed bar | kg |  |  | 0
|  | b) dia. 10mm 51.2m length c/c 10cm deformed bar | kg |  |  | 0
|  | c) dia. 12mm 54m length c/c 20cm deformed bar | kg |  |  | 0
|  | d) dia. 6mm 46m length c/c 20cm deformed bar | kg |  |  | 0
| 1.4 | HCB wall beded with 1:4 cement sand mortar
|  | a) 20cm thick external HBC wall | m2 |  |  | 0
|  | b) 15cm thick internal HBC wall | m2 |  |  | 0
|  | Total carried to summary |  |  |  | 0
| 2 | ROOFING
| 2.1 | Supply and fix G-32 CIS roof cover, fixed to 5cm*7cm eucalyptus purlins c/c 90cm with dome headed galvanized nails. All roof members anchored to each other with band iron. Purlins measured separately and horizontal projection of roof area taken for measuremnet. | m2 |  |  | 0
| 2.2 | Supply and fix zigba wood trim (thickness 3cm and width 20cm) that are used to finish the edges of a roof and provide a clean, finished appearance while protecting the underlying structure. price shall include painting | m |  |  | 0
|  | Total carried to summary |  |  |  | 0
| 3 | CARPENTRY & JOINERY
All wooden members shall be well seasoned, straight and free from any harm full defect.
| 3.1 | B) Ø 8-10cm eucalyptus Vertical & diagonal truss members | m |  |  | 0
| 3.2 | C) 5x7cm eucalyptus wood purlin. | m |  |  | 0
|  | Total carried to summary |  |  |  | 0
| 4 | Metal work
All doors are manufactured from LTZ 15mm profile frames. All works should be cut and assembeled to sizes and shapes of the door schedule upon submitting workshop drawing by the contractor. Unit price includes approved quality locks, hinges and one coat of primer or antirust and two coats of synthetic paint. all other neccessary accessories to accomplish the works.
| 4.1 | construction of hand washing station near the toilet profile frame manufactured from SHS 1.5mm . All works should be cut and assembeled to sizes and shapes of the hand wash schedule upon submitting workshop drawing by the contractor size = (80cm*50cm) height 120cm price include apply two coats antitrust and neccessary accessories to accomplish the works. | pcs |  |  | 0
Door
|  | Type D1, size (80x240)cm | pcs |  |  | 0
|  | Total carried to summary |  |  |  | 0
| 5 | PLASTERING WORK
| 5.1 | Apply two coats of plaster in cement mortar (1:3) up to fine finish to all internal and external wall surfaces. Plastering work shall inciude all surface pre-cleaning preparation, chiseling, polishing, job plastering, plastering to edges and cleaningat the end of finishing work. | m2 |  |  | 0
| 5.2 | Rendering for external wall. Plastering work shall inciude all surface pre-cleaning preparation, chiseling, polishing and cleaningat the end of finishing work. | m2 |  |  | 0
|  | Total carried to summary |  |  |  | 0
| 6 | PAINTING WORK
| 6.1 | Apply in two coats of plastic emulsion paint to all internal and external plastered wall surfaces. The work shall include all surface pre-cleaning preparation, chiseling, polishing and cleaning at the end of painting work. Color shall be decided by the consultant in discussion with the client. | m2 |  |  | 0
|  | Total carried to summary |  |  |  | 0
|  | GRAND TOTAL |  |  |  | 0
|  | VAT 15% |  |  |  | 0
|  | TOTAL WITH VAT |  |  |  | 0
PRICE SUMMARY OF TOILET IN SEMBELE HP
A. Sub Structure
Amount (Ethiopian birr )
|  | Excavation & Earth Work | 0
|  | Masonry Work | 0
|  | Concrete Work | 0
|  | SUB TOTAL. A | 0
B. Super Structure
|  | Concrete work | 0
|  | Roofing | 0
|  | Carpentry & Joinery | 0
|  | Metal Work | 0
|  | PLASTERING WORK | 0
|  | PAINTING WORK | 0
|  | SUB TOTAL. B | 0
|  | TOTAL A+B | 0
|  | 15% VAT | 0
|  | GRAND TOTAL WITH VAT | 0
| 4. | SEMBELE TOTAL COST KITCHN + TOILET | 0